## Slide 1: Design Considerations for the ESRF Upgrade Program Experimental Hall EX2 Slab
David Martin

## Slide 2: Design Considerations for the ESRF Upgrade Program Experimental Hall EX2 Slab
The ESRF Upgrade program
Tolerances for the experimental hall slab
What we can say about these tolerances
Summary

## Slide 3: The ESRF Upgrade Program
The 286M€ Upgrade will focus
on five highlight areas:
  Nano-science and nanotechnology
  Pump-and-probe experiments and time-resolved science
  Science at extreme conditions
  Structural and functional biology and soft matter
  X-ray imaging
X-rays are an ideal tool to study nano-objects, as X-ray wavelengths are perfectly matched to this length scale.

## Slide 4: The ESRF Upgrade Program

## Slide 5: Long Synchrotron Radiation Beamlines
Long beamlines can be compared to a microscope. The principal measure of merit is spatial resolution.

## Slide 6: Long Beamlines
The size of the focused x-ray probe spot size depends on:
  the source size,
  the distance between the source and the focusing optics p, and
  the working distance between optics and the experimental sample q.
  At the ESRF p=150 m and q=0.05 m so q/p=3000-1 → theoretical probe size ~10 nm

## Slide 7: Translation Tolerance
Tolerance is 10% of 50 nm probe size e = 5 nm over a period of 30 minutes
150 m
0.05 m
= 15 µm
U(trans) =
× 5nm

## Slide 8: Rotation Tolerance
Tolerance is 10% of 50 nm probe size e = 5 nm
over a period of 30 minutes
5 nm
0.05 m
= 100 nrad
U(rot) =

## Slide 9: Long Term Site Movements
1997 to 2008

## Slide 10: Medium Term Site Movements - Excavation

## Slide 11: Medium Term Site Movements – Dam Purging

## Slide 12: Medium Term Site Movements – Dam Purging

## Slide 13: Medium to Short Term Movements

## Slide 14: Sampling Explanation –Short Term Movements

## Slide 15: Sampling

## Slide 16: Sampling

## Slide 17: Sampling
σ=1.4 um
one point on graph

## Slide 18: Long Beamline Translation Movements
Recall - tolerance 15 um over 30 minutes
270 nm
2100 nm
27 days
2¼ days
y = 1.00 1.11 1.26 2.67
x = dH / Distance y = x / min(x)
For 250 m long beamline movement after 30 minutes is estimated between 1.1 um and 5 um

## Slide 19: SR Straight Section Rotation

## Slide 20: SR Straight Section Rotation
Recall - tolerance 100 nrad over 30 minutes

## Slide 21: Slab Rocking

## Slide 22: Slab Rocking
Recall - tolerance 100 nrad over 30 minutes
8 hrs
5½ hrs

## Slide 23: Slab Curling

## Slide 24: Slab Curling
15
26

## Slide 25: Slab Curling

## Slide 26: Slab Curling

## Slide 27: Slab Curling

## Slide 28: Slab Curling

## Slide 29: Slab Curling
Recall - tolerance 100 nrad over 30 minutes
370 nrad 1m from slab centre
1100 nrad 3m from slab centre

## Slide 30: Beamline Mirror Rotation Movements

## Slide 31: Beamline Mirror Rotation Movements

## Slide 32: Summary- What can we say?
Translational stability of 15 µm over 30 minutes appears to be easily achievable,
Rotational stability of 100 nrad over 30 minutes is a challenge,
Observations and simulations have shown that slab curling due to temperature variations is the limiting design case in the new experimental hall slab for the ESRF Upgrade program.